## Slide 1
Wind Power Generation
DAY 22

## Slide 2: TABLE OF CONTENTS 01 02 03 04 05
Introduction
Renewable Energy
Wind Power System
MATLAB Model
Application

## Slide 3: Wind Power Generation

## Slide 4: Renewable Energy
Solar Energy
Wind Energy
Hydro Energy
Tidal Energy
Geothermal Energy
Biomass Energy

## Slide 5: Solar Energy

## Slide 6: Wind Energy

## Slide 7: Top 10 Wind Farm Projects in india
Rank | Power plant | Producer | Location | State | MWe
1 | Muppandal windfarm[33] | Muppandal Wind | Kanyakumari | Tamil Nadu | 1500
2 | Jaisalmer Wind Park[34] | Suzlon Energy | Jaisalmer | Rajasthan | 1064
3 | Brahmanvel windfarm[35] | Parakh Agro Industries | Dhule | Maharashtra | 528
4 | Dhalgaon windfarm[36] | Gadre Marine Exports | Sangli | Maharashtra | 278
5 | Vankusawade Wind Park | Suzlon Energy Ltd. | Satara District. | Maharashtra | 259
6 | Vaspet | ReNew Power | Vaspet | Maharashtra | 144
7 | Tuljapur | Siemens Gamesa, ReNew Power | Osmanabad | Maharashtra | 126
8 | Beluguppa Wind Park | Orange Renewable | Beluguppa | Andhra Pradesh | 100.8
9 | Mamatkheda Wind Park | Orange Renewable | Mamatkheda | Madhya Pradesh | 100.5
10 | Anantapur Wind Park | Orange Renewable | Nimbagallu | Andhra Pradesh | 100

## Slide 8: Hydro Energy

## Slide 9: Tidal Energy

## Slide 10: Geo Thermal Energy

## Slide 11: Bio – Mass Energy

## Slide 12: Indian RES Power Generation
Solar power (36,910.53 MW)
Wind power (38,433.55 MW)
Biomass (10,145.92 MW)
Small hydro (4,740.47 MW)
Waste-to-energy (168.64 MW)

## Slide 13
Wind Energy
Wind Power
Wind Turbine
Wind Power System

## Slide 14: Wind Power System

## Slide 15
Land-Based Wind Energy
Distributed Wind Energy
Offshore Wind Energy

## Slide 16: Parts of Windmill
Tower
Blade
Nacelle

## Slide 17: Parts of Wind Turbine

## Slide 18: Type of Wind Mills
Vertical Axis Windmill
Horizontal Axis Windmill

## Slide 19: Types of horizontal axis windmills
Post mill
Smock mill
Tower mill
Fan mill

## Slide 21: Functional Block Diagram

## Slide 22: Tower Hight Vs Wind Speed
Where: P = Power output, kilowatts Cp = Maximum power coefficient, ranging from 0.25 to 0.45, dimension less (theoretical maximum = 0.59) ρ = Air density, lb/ft3 A = Rotor swept area, ft2 or π D2/4 (D is the rotor diameter in ft, π = 3.1416) V = Wind speed, mph k = 0.000133 A constant to yield power in kilowatts. (Multiplying the above kilowatt answer by 1.340 converts it to horse- power [i.e., 1 kW = 1.340 horsepower]).

## Slide 23: Wind Energy Site Assessment
Motivation
Site Description
Wind Characteristics
Microsite and Analysis

## Slide 24: How to choose the Site for Wind Power Generation
1. High annual average wind speed:
2. Availability of anemometry data:
3. Availability of wind V(t) Curve at the proposed site:
4. Wind structure at the proposed site:
5. Altitude of the proposed site:
6. Terrain and its aerodynamic:
7. Local Ecology
8. Distance to road or railways:
9. Nearness of site to local centre/users:
10. Nature of ground:
11. Favorable land cost:

## Slide 25: Top Manufacturer
Siemens Gamesa Renewable Energy
Suzlon
Vestas
Inox Wind
GE Renewable Energy
Envision
Senvion

## Slide 26: Advantages and Disadv
Free
Renewable
Non-Polluting
Minimum Operating Cost
No Fuel Needed
Shortest Pay-Back Time
High Initial Investment
Thread for Birds
Wind Strength <> Electricity Not Constant
Financial - risk - Not enough Energy from wind to replace traditional resources
Life time of Turbines is 20 Years
Hard to estimate wind power

## Slide 27: THANKS