Retaining walls must be reinforced in order to be effective. Too many forces are at work against a retaining wall that could cause it to tumble over if it is not reinforced correctly.

Calculation Reference
Reinforced Concrete