A surcharge load is an additional retaining wall load superimposed onto the earth pressure force to yield the total lateral force.

SURCHARGE LOADS:
   STRIPS LOADS
   TRIANGULAR LOADS
   LINE LOADS
   RAMP LOADS

The TOTAL REACTIONS are also calculated.